## input
CT Vista+ Tag Name | Historian Tag Unit of Measure | Historian Tag Name | Historian Descriptor | Technical Name
Gross Load | MW | xyz | xyz | abc
Condenser Back Pressure #1 | inHg(a) | xyz | xyz | abc
Boiler Steam Flow #1 | kpph | xyz | xyz | abc
Attemperatrion Flow #1 | kpph | xyz | xyz | abc
Cogen Steam Flow #1 | kpph | xyz | xyz | abc
Condenser CW In Temps #1 | °F | xyz | xyz | abc
Condenser CW Out Temps #1 | °F | xyz | xyz | abc
Condenser CW Inlet Pressure #1 | psi | xyz | xyz | abc
Condenser CW Outlet Pressure #1 | psi | xyz | xyz | abc
LP Exhaust Steam Temp #1 | °F | xyz | xyz | abc

## Sheet2
CT Vista+ Tag Name | Historian Tag Unit of Measure | Historian Tag Name | Historian Descriptor | Technical Name
Gross Load | MW | xyz | xyz | abc
Condenser Back Pressure #1 | inHg(a) | xyz | xyz | abc
Boiler Steam Flow #1 | kpph | xyz | xyz | abc
Attemperatrion Flow #1 | kpph | xyz | xyz | abc
Cogen Steam Flow #1 | kpph | xyz | xyz | abc
Condenser CW In Temps #1 | °F | xyz | xyz | abc
Condenser CW Out Temps #1 | °F | xyz | xyz | abc
Condenser CW Inlet Pressure #1 | psi | xyz | xyz | abc
Condenser CW Outlet Pressure #1 | psi | xyz | xyz | abc
LP Exhaust Steam Temp #1 | °F | xyz | xyz | abc